## Phoenix
JACE | Option
Base
2403160 | 4 10/100 Mb Ethernet Ports, 2 RS-485 Serial Ports, MicroSD Slot, Mini-USB. Does Not Include Core Capacities and SMAs
Demo License | Includes
1098423 | ILC 2050 BI Demo; Includes IO: (8) DI, (8) DO, (4) RTD, (4) 0-10 AI, (4) 0-10V AO, Circuit Breaker, Surge Protector & Power Supply
1106186 | ILC 2050BI Demo Core; Includes 500 Devices & 25,000 Points
1045861 | 5 Device / 100 point core
1101277 | 5 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
1101283 | 5 Device SMA, 3 Year Software Maintenance Agreement.
1101291 | 5 Device SMA, 5 Year Software Maintenance Agreement.
2404194 | 5 Device / 250 point core
2404204 | 5 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404205 | 5 Device SMA, 3 Year Software Maintenance Agreement.
2404206 | 5 Device SMA, 5 Year Software Maintenance Agreement.
2404195 | 10 Device / 500 point core
2404208 | 10 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404209 | 10 Device SMA, 3 Year Software Maintenance Agreement.
2404210 | 10 Device SMA, 5 Year Software Maintenance Agreement.
2404196 | 25 Device / 1,250 point core
2404212 | 25 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404213 | 25 Device SMA, 3 Year Software Maintenance Agreement.
2404214 | 25 Device SMA, 5 Year Software Maintenance Agreement.
2404197 | 100 Device / 5,000 point core
2404216 | 100 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404217 | 100 Device SMA, 3 Year Software Maintenance Agreement.
2404218 | 100 Device SMA, 5 Year Software Maintenance Agreement.
2404198 | 200 Device / 10,000 point core
2404221 | 200 Device SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404222 | 200 Device SMA, 3 Year Software Maintenance Agreement.
2404223 | 200 Device SMA, 5 Year Software Maintenance Agreement.
JACE Device Pack | Includes
2404199 | Adds support for additional 500 points with initial core software purchase.
2404201 | Adds support for additional 1250 points with initial core software purchase.
2404202 | Adds support for additional 2500 points with initial core software purchase.
2404227 | Adds support for additional 500 points after initial core software purchase.
2404228 | Adds support for additional 1250 points after initial core software purchase.
2404229 | Adds support for additional 2500 points after initial core software purchase.
SUPERVISOR | Option
2404065 | 0 Niagara Network Connection
2404175 | 0 Network SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404176 | 0 Network SMA, 3 Year Software Maintenance Agreement.
2404177 | 0 Networks SMA, 5 Year Software Maintenance Agreement.
2404136 | 1 Niagara Network Connection
2404179 | 1 Network SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404180 | 1 Network SMA, 3 Year Software Maintenance Agreement.
2404181 | 1 Networks SMA, 5 Year Software Maintenance Agreement.
2404165 | 10 Niagara Network Connection
2404183 | 10 Network SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404184 | 10 Network SMA, 3 Year Software Maintenance Agreement.
2404185 | 10 Networks SMA, 5 Year Software Maintenance Agreement.
2404157 | 100 Niagara Network Connection
2404187 | 100 Network SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404188 | 100 Network SMA, 3 Year Software Maintenance Agreement.
2404189 | 100 Networks SMA, 5 Year Software Maintenance Agreement.
2404158 | Unlimited Niagara Network Connection
2404191 | Unlimited Network SMA, 18 Months Initial Purchase Or 1 Year Extension Software Maintenance Agreement
2404192 | Unlimited Network SMA, 3 Year Software Maintenance Agreement.
2404193 | Unlimited Networks SMA, 5 Year Software Maintenance Agreement.
Supervisor Device Pack | Includes
2404159 | Supports up to 10 devices or 500 points.
2404160 | Supports up to 25 devices or 1,250 points.
2404161 | Supports up to 50 devices or 2,500 points.
2404162 | Supports up to 100 devices or 5,000 points.
2404163 | Supports up to 200 devices or 10,000 points.
Supervisor Upgrade | Includes
2404164 | Adds One Additional Niagara Connection to Supervisor.
2404165 | Upgrades Small Supervisor (SUP-0 through SUP-10) to 100 Niagara Connections, Will Maintain Any SUP-UP-1 That Were Added to Original License.
2404166 | Upgrades Supervisor 100 To Unlimited Niagara Connections.
Software License | Option
2404321 | N4 Demo Engineering Software