## JACE 9000
Effective 01.01.25 |  | Multiplier | 1
Part Number | Description | List Price | Net Price
JACE 9000 Hardware
J-9000 | Individual JACE 9000 (Includes uSD card and Branding Clip). No WiFi. Requires Niagara 4.13 or higher. Must be purchased with Core Device Pack and Software Maintenance Agreement. | 2647 | 2647
JACE-9000-HW | Replacement JACE-9000 Hardware only. Does not include SD card or core software license. | 2345 | 2345
JACE-9000-SD-HW | Replacement 8GB JACE-9000 SD card only. Does not include software core/license. Compatible with 4.13 or Higher. | 265 | 265
JEC-934 | JACE 9000 with remote connected 34 point I/O module. Includes branding clip and microSD card, 2 10/100/1000 Mb Ethernet ports, 2 RS-485 serial ports and integration ready. Includes standard open drivers with 0 device & 0 point capacity. Requires 24 VAC or 24 VDC power source. Option cards required for communication to remote devices are not included. Requires Niagara 4.13 or higher. | 5205 | 5205
JACE 9000 Device Core Capacity
NC-9005 | JACE 9000 5 Device Core Software Only & 250 Points. Includes standard open drivers. Supports up to 5 devices or 250 points. Requires Niagara 4.13 or higher. | 965 | 965
NC-9010 | JACE 9000 10 Device Core Software Only & 500 Points. Includes standard open drivers. Supports up to 10 devices or 500 points. Requires Niagara 4.13 or higher. | 1445 | 1445
NC-9025 | JACE 9000 25 Device Core Software Only & 1250 Points. Includes standard open drivers. Supports up to 25 devices or 1250 points. Requires Niagara 4.13 or higher. | 2350 | 2350
NC-9100 | JACE 9000 100 Device Core Software Only & 5000 Points. Includes standard open drivers. Supports up to 100 devices or 5000 points. Requires Niagara 4.13 or higher. | 6950 | 6950
NC-9200 | JACE 9000 200 Device Core Software Only & 10000 Points. Includes standard open drivers. Supports up to 200 devices or 10000 points. Requires Niagara 4.13 or higher. | 10415 | 10415
NC-9XXX-DEMO | JACE 9000 Demo with 500 Device Core. Includes all available Tridium drivers. Requires Niagara 4.13 or higher. License will renew annually with the receipt of the annual support fee. | 7645 | 7645
JACE 9000 Device Pack
DEVICE-1 | JEC-934 ONLY 1 Device/50 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. | 375 | 375
DEVICE-5 | JEC-934 ONLY 5 Device/250 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. | 1375 | 1375
DEVICE-10 | JACE 8000 or JACE-9000 10 Device/500 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 2010 | 2010
DEVICE-25 | JACE 8000 or JACE-9000 25 Device/1250 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 3400 | 3400
DEVICE-50 | JACE 8000 or JACE-9000 50 Device/2500 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 6355 | 6355
JACE 9000 Software Maintenance Agreement
SMA-9005-1YR | JACE 9005 - 1 year maintenance | 155 | 155
SMA-9005-3YR | JACE 9005 - 3 year maintenance | 375 | 375
SMA-9005-5YR | JACE 9005 - 5 year maintenance | 485 | 485
SMA-9005-1YR-INIT | JACE 9005 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 155 | 155
SMA-9010-1YR | JACE 9010 - 1 year maintenance | 230 | 230
SMA-9010-3YR | JACE 9010 - 3 year maintenance | 565 | 565
SMA-9010-5YR | JACE 9010 - 5 year maintenance | 725 | 725
SMA-9010-1YR-INIT | JACE 9010 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 230 | 230
SMA-9025-1YR | JACE 9025 - 1 year maintenance | 375 | 375
SMA-9025-3YR | JACE 9025 - 3 year maintenance | 915 | 915
SMA-9025-5YR | JACE 9025 - 5 year maintenance | 1175 | 1175
SMA-9025-1YR-INIT | JACE 9025 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 375 | 375
SMA-9100-1YR | JACE 9100 - 1 year maintenance | 1110 | 1110
SMA-9100-3YR | JACE 9100 - 3 year maintenance | 2710 | 2710
SMA-9100-5YR | JACE 9100 - 5 year maintenance | 3475 | 3475
SMA-9100-1YR-INIT | JACE 9100 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 1110 | 1110
SMA-9200-1YR | JACE 9200 - 1 year maintenance | 1665 | 1665
SMA-9200-3YR | JACE 9200 - 3 year maintenance | 4060 | 4060
SMA-9200-5YR | JACE 9200 - 5 year maintenance | 5210 | 5210
SMA-9200-1YR-INIT | JACE 9200 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 1665 | 1665
JACE 9000 Hardware Accessories
IO-R-16 | 16 Point IO Module (14006). Powered by IO-R-34 or 15 VDC. Connected to JACE-9000 remotely over RS485. 8UI, 4DO and 4AO. Requires Niagara 4 (4.3+) or Niagara AX (3.8U3+) | 790 | 790
IO-R-34 | 34 Point IO Module (14022). Powered by 24VAC/DC. Capable of powering (4) IO-R-16 modules. Connected to JACE-9000 or Niagara Edge 10 remotely over RS485. 16UI, 10DO and 8AO. Requires Niagara 4 (4.3+) or Niagara AX (3.8U3+) | 1760 | 1760
NPB-8000-232 | JACE 8000 or JACE-9000 - Add-on single port RS-232 module. | 610 | 610
NPB-8000-2X-485 | JACE 8000 or JACE-9000 - Add-on dual port RS-485 module. | 665 | 665
NPB-8000-LON | JACE 8000 or JACE-9000 - Add-on single port Lon® FTT10A module. | 665 | 665
NPB-8000-OPT-KIT | JACE 8000 or JACE-9000 Expansion Module Accessory Kit includes (2) RS-485 and (1) LON-FTT10A connectors | 61 | 61
WPM-8000 | 100-240VAC, 50/60 Hz. Wall Adapter – Connects to the 2.5mm barrel plug 24V input on the JACE 8000 or JACE-9000 and includes US, EU, UK, and AU style plugs. Excluded from JACE-8000 agency listings. | 125 | 125
JACE 9000 Drivers
DR-AC | AC256 over RS-232 | 5240 | 5240
DR-AINF | Andover Infinity driver. | 4880 | 4880
DR-APHP | American Auto-Matrix PHP over RS-232 or RS-485 driver. | 5240 | 5240
DR-APUP | American Auto-Matrix PUP over RS-232 or RS-485 driver. | 4880 | 4880
DR-FLEX | Flex driver over RS-232 or RS-485. | 1070 | 1070
DR-GCP | Google Cloud Platform (GCP) Gateway (DR-JSON Toolkit & SMA required) | 1400 | 1400
DR-HTTP | HTTP Client Driver allows integration of data from webservices and RESTful API endpoints (SMA Required) | 1635 | 1635
DR-JSON | Enables JSON Toolkit (SMA Required) | 240 | 240
DR-MCQUAY | McQuay driver to OPM driver. | 5240 | 5240
DR-MFID | Micros Fidelio IP Driver | 2245 | 2245
DR-OADR | Niagara4 VEN JACE Driver for OpenADR 2.0 - OpenADR Alliance Certified - enables a single VEN connection; multiple purchases allowed | 2100 | 2100
DR-SMSALM | Enables SMS alarms to be sent to any mobile phone via a GSM/GPRS modem connected to the RS-232 serial port driver. | 1750 | 1750
2025 PRICE BOOK

## JACE 8000
Part Number | Description | List Price | Net Price
JACE 8000 Hardware
J-8000-SDV4 | Individual JACE 8000 (Includes uSD card and Branding Clip). No WiFi. Requires Niagara 4.9u1 or higher. Must be purchased with Core Device Pack and Software Maintenance Agreement. Last Time Buy December 31, 2026. End of Support July 2028. | 2220 | 2220
JACE-8000 | Replacement JACE-8000 Hardware only. Does not include SD card or core software license. No WiFi | 1830 | 1830
JACE-8000-SDV4 | Replacement 4GB JACE-8000 SD card only. Does not include software core/license. Compatible with 4.9u1 or Higher. | 195 | 195
JEC-834 | JACE 8000 with remote connected 34 point I/O module. Includes microSD card, 2 10/100 Mb Ethernet ports, 2 RS-485 serial ports and integration ready. Includes standard open drivers with 0 device & 0 point capacity. Requires 24 VAC or 24 VDC power source. Option cards required for communication to remote devices are not included. Requires Niagara 4.3 or higher. | 2955 | 2955
JACE 8000 Device Core Capacity
J-8005 | JACE 8000 5 Device Core Software Only & 250 Points. Includes standard open drivers. Supports up to 5 devices or 250 points. Requires Niagara 4.1 or higher. | 965 | 965
J-8010 | JACE 8000 10 Device Core Software Only & 500 Points. Includes standard open drivers. Supports up to 10 devices or 500 points. Requires Niagara 4.1 or higher. | 1445 | 1445
J-8025 | JACE 8000 25 Device Core Software Only & 1250 Points. Includes standard open drivers. Supports up to 25 devices or 1250 points. Requires Niagara 4.1 or higher. | 2350 | 2350
J-8100 | JACE 8000 100 Device Core Software Only & 5000 Points. Includes standard open drivers. Supports up to 100 devices or 5000 points. Requires Niagara 4.1 or higher. | 6950 | 6950
J-8200 | JACE 8000 200 Device Core Software Only & 10000 Points. Includes standard open drivers. Supports up to 200 devices or 10000 points. Requires Niagara 4.1 or higher. | 10415 | 10415
J-8000-DEMO | JACE 8000 Demo with 500 Device Core. Includes all available Tridium drivers. Requires Niagara 4.1 or higher. License will renew annually with the receipt of the annual support fee. | 7645 | 7645
JACE 8000 Device Pack
DEVICE-1 | JEC-934 ONLY 1 Device/50 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. | 375 | 375
DEVICE-5 | JEC-934 ONLY 5 Device/250 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. | 1375 | 1375
DEVICE-10 | JACE 8000 or JACE-9000 10 Device/500 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 2010 | 2010
DEVICE-25 | JACE 8000 or JACE-9000 25 Device/1250 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 3400 | 3400
DEVICE-50 | JACE 8000 or JACE-9000 50 Device/2500 Point Capacity Pack purchased in conjunction with initial Core software or subsequently. Includes standard open drivers. | 6355 | 6355
JACE 8000 Software Maintenance Agreement
SMA-8005-1YR | JACE 8005 - 1 year maintenance | 155 | 155
SMA-8005-3YR | JACE 8005 - 3 year maintenance | 375 | 375
SMA-8005-5YR | JACE 8005 - 5 year maintenance | 485 | 485
SMA-8005-1YR-INIT | JACE 8005 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 155 | 155
SMA-8010-1YR | JACE 8010 - 1 year maintenance | 230 | 230
SMA-8010-3YR | JACE 8010 - 3 year maintenance | 565 | 565
SMA-8010-5YR | JACE 8010 - 5 year maintenance | 725 | 725
SMA-8010-1YR-INIT | JACE 8010 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 230 | 230
SMA-8025-1YR | JACE 8025 - 1 year maintenance | 375 | 375
SMA-8025-3YR | JACE 8025 - 3 year maintenance | 915 | 915
SMA-8025-5YR | JACE 8025 - 5 year maintenance | 1175 | 1175
SMA-8025-1YR-INIT | JACE 8025 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 375 | 375
SMA-8100-1YR | JACE 8100 - 1 year maintenance | 1110 | 1110
SMA-8100-3YR | JACE 8100 - 3 year maintenance | 2710 | 2710
SMA-8100-5YR | JACE 8100 - 5 year maintenance | 3475 | 3475
SMA-8100-1YR-INIT | JACE 8100 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 1110 | 1110
SMA-8200-1YR | JACE 8200 - 1 year maintenance | 1665 | 1665
SMA-8200-3YR | JACE 8200 - 3 year maintenance | 4060 | 4060
SMA-8200-5YR | JACE 8200 - 5 year maintenance | 5210 | 5210
SMA-8200-1YR-INIT | JACE 8200 - Initial 18 month maintenance must be purchased in conjunction with initial Core software. Optional 3 or 5 year maintenance may be substituted. | 1665 | 1665
JACE 8000 Hardware Accessories
IO-R-16 | 16 Point IO Module (14006). Powered by IO-R-34 or 15 VDC. Connected to JACE-8000 remotely over RS485. 8UI, 4DO and 4AO. Requires Niagara 4 (4.3+) or Niagara AX (3.8U3+) | 790 | 790
IO-R-34 | 34 Point IO Module (14022). Powered by 24VAC/DC. Capable of powering (4) IO-R-16 modules. Connected to JACE-8000 or Niagara Edge 10 remotely over RS485. 16UI, 10DO and 8AO. Requires Niagara 4 (4.3+) or Niagara AX (3.8U3+) | 1760 | 1760
CBL-WIFI-EXT | Extension cable and bracket for JACE-8000 WLAN | 305 | 305
NPB-8000-232 | JACE 8000 or JACE-9000 - Add-on single port RS-232 module. | 610 | 610
NPB-8000-2X-485 | JACE 8000 or JACE-9000 - Add-on dual port RS-485 module. | 665 | 665
NPB-8000-KIT | JACE-8000 Accessory Kit includes 2.4/5GHz Antenna, power and (2) RS-485 connectors | 115 | 115
NPB-8000-LON | JACE 8000 or JACE-9000 - Add-on single port Lon® FTT10A module. | 665 | 665
NPB-8000-OPT-KIT | JACE 8000 or JACE-9000 Expansion Module Accessory Kit includes (2) RS-485 and (1) LON-FTT10A connectors | 61 | 61
WPM-8000 | 100-240VAC, 50/60 Hz. Wall Adapter – Connects to the 2.5mm barrel plug 24V input on the JACE 8000 or JACE-9000 and includes US, EU, UK, and AU style plugs. Excluded from JACE-8000 agency listings. | 125 | 125
JACE 8000 Drivers
DR-AC | AC256 over RS-232 | 5240 | 5240
DR-AINF | Andover Infinity driver. | 4880 | 4880
DR-APHP | American Auto-Matrix PHP over RS-232 or RS-485 driver. | 5240 | 5240
DR-APUP | American Auto-Matrix PUP over RS-232 or RS-485 driver. | 4880 | 4880
DR-CCN | Carrier Comfort Network driver Niagara 4 driver. | 3285 | 3285
DR-FLEX | Flex driver over RS-232 or RS-485. | 1070 | 1070
DR-GCP | Google Cloud Platform (GCP) Gateway (DR-JSON Toolkit & SMA required) | 1400 | 1400
DR-HTTP | HTTP Client Driver allows integration of data from webservices and RESTful API endpoints (SMA Required) | 1635 | 1635
DR-JSON | Enables JSON Toolkit (SMA Required) | 240 | 240
DR-MCQUAY | McQuay driver to OPM driver. | 5240 | 5240
DR-MFID | Micros Fidelio IP Driver | 2245 | 2245
DR-OADR | Niagara4 VEN JACE Driver for OpenADR 2.0 - OpenADR Alliance Certified - enables a single VEN connection; multiple purchases allowed | 2100 | 2100
DR-SMSALM | Enables SMS alarms to be sent to any mobile phone via a GSM/GPRS modem connected to the RS-232 serial port driver. | 1750 | 1750
SP-FIPS | Provides FIPS 140-2 Level 1 conformance using the integrated FIPS-certified BouncyCastle module for JACE 8000. Compatible with Niagara version 4.6 | 1960 | 1960
2025 PRICE BOOK

## VEC-10
Part Number | Description | List Price | Net Price
VEC-10 | Niagara Edge 10 field controller with 10 points of onboard IO, 1 RS-485 serial port, and 2 10/100 Ethernet ports. Supports 2 IO-R-34. Includes Niagara N4 and drivers for BACnet®, Modbus® and SNMP. Supports up to 3 devices and 50 total points. Includes all software updates released for commercial use by Tridium for the life of N4, but not for any later versions. Includes branded logo and optionally branded startup guide. Last Time Buy June 20th, 2026. End of Support June 30, 2026. | 1325 | 1325
VEC-10-UB | Niagara Edge 10 field controller with 10 points of onboard IO, 1 RS-485 serial port, and 2 10/100 Ethernet ports. Supports 2 IO-R-34. Includes Niagara N4 and drivers for BACnet®, Modbus® and SNMP. Supports up to 3 devices and 50 total points. Includes all software updates released for commercial use by Tridium for the life of N4, but not for any later versions. Does not include branded logo or branded startup guide. Last Time Buy June 20th, 2026. End of Support June 30, 2026. | 1290 | 1290
2025 PRICE BOOK

## Supervisor
Part Number | Description | List Price | Net Price
Niagara4 Supervisor
S-N4-0 | Supervisor with 0 Niagara network connections - for managing IP field devices only or End-user Tool. | 1615 | 1615
S-N4-1 | Supervisor with 1 Niagara network connection. | 2055 | 2055
S-N4-2 | Supervisor with 2 Niagara network connections. | 2450 | 2450
S-N4-3 | Supervisor with 3 Niagara network connections. | 2875 | 2875
S-N4-10 | Supervisor with 10 Niagara network connections. | 6550 | 6550
S-N4-100 | Supervisor with 100 Niagara network connections. | 9710 | 9710
S-N4-UNL | Supervisor with Unlimited Niagara network connections. | 19920 | 19920
ALM-CONSOLE | The Alarm Console client. No separate server is required. Supports Niagara alarm monitoring . | 370 | 370
S-ENG-DEMO | Vykon Supervisor Demo Software. Once License Per Technician. Not for resale. | 1023 | 1023
Niagara4 Supervisor Software Maintenance Agreement
SUP-0-SMA-1YR | Supervisor 0 - 1 year maintenance | 290 | 290
SUP-0-SMA-3YR | Supervisor 0 - 3 year maintenance | 630 | 630
SUP-0-SMA-5YR | Supervisor 0 - 5 year maintenance | 810 | 810
SUP-0-SMA-INIT | Supervisor 0 - Initial 18 month maintenance must be purchased in conjunction with initial Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 290 | 290
SUP-1-SMA-1YR | Supervisor 1 - 1 year maintenance | 370 | 370
SUP-1-SMA-3YR | Supervisor 1 - 3 year maintenance | 800 | 800
SUP-1-SMA-5YR | Supervisor 1 - 5 year maintenance | 1030 | 1030
SUP-1-SMA-INIT | Supervisor 1 - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 370 | 370
SUP-2-SMA-1YR | Supervisor 2 - 1 year maintenance | 440 | 440
SUP-2-SMA-3YR | Supervisor 2 - 3 year maintenance | 955 | 955
SUP-2-SMA-5YR | Supervisor 2 - 5 year maintenance | 1225 | 1225
SUP-2-SMA-INIT | Supervisor 2 - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 440 | 440
SUP-3-SMA-1YR | Supervisor 3 - 1 year maintenance | 520 | 520
SUP-3-SMA-3YR | Supervisor 3 - 3 year maintenance | 1120 | 1120
SUP-3-SMA-5YR | Supervisor 3 - 5 year maintenance | 1440 | 1440
SUP-3-SMA-INIT | Supervisor 3 - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 520 | 520
SUP-10-SMA-1YR | Supervisor 10 - 1 year maintenance | 1050 | 1050
SUP-10-SMA-3YR | Supervisor 10 - 3 year maintenance | 2555 | 2555
SUP-10-SMA-5YR | Supervisor 10 - 5 year maintenance | 3275 | 3275
SUP-10-SMA-INIT | Supervisor 10 - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 1050 | 1050
SUP-100-SMA-1YR | Supervisor 100 - 1 year maintenance | 1555 | 1555
SUP-100-SMA-3YR | Supervisor 100 - 3 year maintenance | 3785 | 3785
SUP-100-SMA-5YR | Supervisor 100 - 5 year maintenance | 4855 | 4855
SUP-100-SMA-INIT | Supervisor 100 - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 1555 | 1555
SUP-UNL-SMA-1YR | Supervisor UNL - 1 year maintenance | 3185 | 3185
SUP-UNL-SMA-3YR | Supervisor UNL - 3 year maintenance | 7770 | 7770
SUP-UNL-SMA-5YR | Supervisor UNL - 5 year maintenance | 9960 | 9960
SUP-UNL-SMA-INIT | Supervisor UNL - Initial 18 month maintenance must be purchased in conjunction with Supervisor software. Optional 3 or 5 year maintenance may be substituted. | 3185 | 3185
Niagara4 Supervisor Core Upgrades
SUP-STATION-5UP | Adds the ability for a SUP-0,1,2,3,10 and 100 to run 5 additional stations. For small site multi-tenant options | 5280 | 5280
SUP-UP-1 | Adds one additional Niagara connection to Supervisor. | 745 | 745
SUP-UP-100 | Upgrades "small" supervisor (SUP-0 through SUP-10) to 100 Niagara connections. Will maintain any SUP-UP-1 that were added to original license. | 10345 | 10345
SUP-UP-UNL | Upgrades supervisor 100 to unlimited Niagara connections. | 11150 | 11150
Niagara4 Supervisor Device Capacity Pack
SUP-DEVICE-10 | Supervisor 10 field Device pack (Standard drivers included). 500 points | 2590 | 2590
SUP-DEVICE-25 | Supervisor 25 field Device pack (Standard drivers included). 1,250 points | 4050 | 4050
SUP-DEVICE-50 | Supervisor 50 field Device pack (Standard drivers included). 2,500 points | 6755 | 6755
SUP-DEVICE-100 | Supervisor 100 field Device pack (Standard drivers included). 5,000 points | 9020 | 9020
SUP-DEVICE-200 | Supervisor 200 field Device pack (Standard drivers included). 10,000 points | 12545 | 12545
SUP-DEVICE-500 | Supervisor 500 field Device pack (Standard drivers included). 25,000 points | 20240 | 20240
SUP-DEVICE-1000 | Supervisor 1000 field Device pack (Standard drivers included). 50,000 points | 26985 | 26985
Niagara4 Supervisor Changes
LIC-CHG | License change fee to change an existing license at the request of a customer or partner. Applies to all license changes except when a driver, upgrade, other software is purchased or when the change involves a demo license. Demo license changes are free of charge. This applies to current supported version only. | 440 | 440
LEGACY-JRE | Option that allows a Supervisor to run Oracle JRE on legacy versions of Niagara. You will need to purchase this option should circumstances require running legacy (pre-4.10u8 and pre-4.13u3) Niagara versions. | 272 | 272
Niagara4 Supervisor Drivers
DR-S-DB-CSV | CSV Database driver | 3700 | 3700
DR-S-DB-MYSQL | MYSQL Database driver | 3700 | 3700
DR-S-DB-ORCL | Oracle 11G Database driver | 3700 | 3700
DR-S-DB-SQL | SQL Database driver | 3700 | 3700
DR-S-GCP | Google Cloud Platform (GCP) Gateway for Supervisor (DR-S-JSON Toolkit & SMA required) | 3790 | 3790
DR-S-HTTP | HTTP Client Driver allows integration of data from webservices and RESTful API endpoints (SMA Required) | 4665 | 4665
DR-S-JSON | Enables JSON Toolkit for Supervisor (SMA Required) | 970 | 970
DR-S-OADR | Niagara4 VEN Supervisor Driver for OpenADR 2.0 - OpenADR Alliance Certified - enables a single VEN connection; multiple purchases allowed | 8405 | 8405
SP-S-FIPS | Provides FIPS 140-2 Level 1 conformance using the integrated FIPS certified BouncyCastle module for a N4 Supervisor. Compatible with Niagara version 4.6 and later | 3255 | 3255
2025 PRICE BOOK

## Tenant Billing
Part Number | Description | List Price | Net Price
Supervisor Only
S-TBS | Tenant Billing System, include license for 10 tenants. Requires a web supervisor license. | 2315 | 2315
S-TBS-10 | Adds 10 more tenants to a TBS license. | 1545 | 1545
S-TBS-25 | Adds 25 more tenants to a TBS license. | 3085 | 3085
S-TBS-50 | Adds 50 more tenants to a TBS license. | 5790 | 5790
S-TBS-100 | Adds 100 more tenants to a TBS license. | 7720 | 7720
2025 PRICE BOOK

## Analytics
Part Number | Description | List Price | Net Price
Supervisor Analytics
NA-S-N4-250 | Niagara Analytics Framework (on N4) license for 250 analytic points for a Supervisor. | 4010 | 4010
NA-S-N4-1000 | Niagara Analytics Framework (on N4) license for 1,000 analytic points for a Supervisor. | 8765 | 8765
NA-S-N4-2500 | Niagara Analytics Framework (on N4) license for 2,500 analytic points for a Supervisor. | 17815 | 17815
NA-S-N4-10000 | Niagara Analytics Framework (on N4) license for 10,000 analytic points for a Supervisor. | 48105 | 48105
NA-S-N4-50000 | Niagara Analytics Framework (on N4) license for 50,000 analytic points for a Supervisor. | 171785 | 171785
NA-S-N4-100000 | Niagara Analytics Framework (on N4) license for 100,000 analytic points for a Supervisor. | 286315 | 286315
NA-S-N4-UNL | Niagara Analytics Framework (on N4) license for Unlimited analytic points for a Supervisor. | 343575 | 343575
NA-S-N4-ENT-10 | Niagara Analytics Framework (on N4) Enterprise option for unlimited analytic points on ten N4 Supervisors. Requires NO additional purchase of SMA (included as part of core N4 SMA) | 1968825 | 1968825
JACE Analytics
NA-EC-N4-100 | Niagara Analytics Framework (on N4) license for 100 analytic points for an Embedded Controller. | 635 | 635
NA-EC-N4-250 | Niagara Analytics Framework (on N4) license for 250 analytic points for an Embedded Controller. | 860 | 860
NA-EC-N4-500 | Niagara Analytics Framework (on N4) license for 500 analytic points for an Embedded Controller. | 1265 | 1265
NA-EC-N4-1000 | Niagara Analytics Framework (on N4) license for 1,000 analytic points for an Embedded Controller. | 1720 | 1720
2025 PRICE BOOK

## Security
Part Number | Description | List Price | Net Price
Enable Enterprise Security Drivers
SEC-J8-32 | Enterprise Security Application on JACE 8000 Model - 32 Readers. Compatible with N4.6 and later. | 1280 | 1280
SEC-J9-32 | Enterprise Security Application on JACE 9000 Model - 32 Readers. Compatible with N4.14 and later. | 1280 | 1280
SEC-SUP-32 | Enterprise Security Application for Supervisor - 32 Readers. Compatible with N4.6 and later. | 5090 | 5090
Security Hardware
SEC-RIO | Includes connections for 8 Supervised Inputs, 8 Form C Relay Outputs, and 2 Digital Inputs. Contains removable screw terminal connectors, and status indication LEDs. Manufactured in the USA. | 1610 | 1610
SEC-R2R | Includes connections for 2 Card Readers, 4 Supervised Inputs, 2 Form C Relay Outputs, and 2 Digital Inputs. Contains removable screw terminal connectors, and status indication LEDs. Manufactured in the USA. | 1610 | 1610
Additional Reader Packs for Supervisor
SEC-R-16 | Expands enterprise security license by 16 readers. | 1435 | 1435
SEC-R-64 | Expands enterprise security license by 64 readers. | 5170 | 5170
SEC-R-256 | Expands enterprise security license by 256 readers. | 19390 | 19390
SEC-R-1024 | Expands enterprise security license by 1024 readers. | 74560 | 74560
Supervisor Driver
DR-S-AXIS-128 | Axis® 128 camera driver on Supervisor | 14720 | 14720
DR-S-AXIS-16 | Axis® 16 camera driver on Supervisor | 4070 | 4070
DR-S-AXIS-32 | Axis® 32 camera driver on Supervisor | 6555 | 6555
DR-S-AXIS-64 | Axis® 64 camera driver on Supervisor | 10515 | 10515
DR-S-LDAP | Provides interface to integrate the Niagara Enterprise Security Supervisor card holder database to Active Directory/LDAP. Custom configuration of LDAP/Active Directory Database may be required. | 2335 | 2335
DR-S-MAXP-128 | Maxpro® 128 camera driver for Supervisor. | 14720 | 14720
DR-S-MAXP-16 | Maxpro® 16 camera driver for Supervisor. | 4070 | 4070
DR-S-MAXP-32 | Maxpro® 32 camera driver for Supervisor. | 6555 | 6555
DR-S-MAXP-64 | Maxpro® 64 camera driver for Supervisor. | 10515 | 10515
DR-S-MLS-128 | Milestone Xprotect® Professional/+ or Corporate 128 camera driver on Supervisor | 14720 | 14720
DR-S-MLS-16 | Milestone Xprotect® Professional/+ or Corporate 16 camera driver on Supervisor | 4070 | 4070
DR-S-MLS-32 | Milestone Xprotect® Professional/+ or Corporate 32 camera driver on Supervisor | 6555 | 6555
DR-S-MLS-64 | Milestone Xprotect® Professional/+ or Corporate 64 camera driver on Supervisor | 10515 | 10515
JACE 8000 & 9000 Driver
DR-AXIS-8 | AXIS 8 camera driver on JACE. Max 16 cameras per JACE | 1245 | 1245
DR-MAXP-8 | Maxpro® 8 camera driver for JACE. Max 16 cameras per JACE | 1245 | 1245
Hardware Accessories
10747 | End of line 4-lead resistor for installation at supervised contact. One required for each supervised input. | 38 | 38
10763 | 6-conductor wiring harness used between assemblies on top and bottom DIN rails of the large security enclosure. | 350 | 350
10764 | Battery wiring harness. | 64 | 64
10765 | Enclosure door key lock with 2 keys. | 45 | 45
10781 | Replacement Tamper Switch (Replaces Part # 10766). | 150 | 150
SEC-ENC-LNP | Enclosure with DIN rail, tamper switch, key lock, and capacity for user provided SLA batteries. Enclosure includes 2 DIN rails for additional module expansion. Configurable options include Security JACE, 4 reader modules or 2 remote I/O modules. Note: Power Supply is not included. Dimensions: 17" W x 22" H x 4" D. Manufactured in the USA. | 1365 | 1365
SEC-ENC-MNP | Enclosure with DIN rail, tamper switch, key lock, and capacity for user provided SLA batteries. Configurable options include Security JACE, 2 reader modules or remote I/O module. Note: Power Supply is not included. Dimensions: 17" W x 15" H x 4" D. Manufactured in the USA. | 1030 | 1030
SEC-ENC-SML | Small enclosure with DIN rail, tamper switch and key lock. Single 2 reader module only option available for this enclosure. Dimensions: 6" W x 9" H x 4" D. Manufactured in the USA. | 855 | 855
2025 PRICE BOOK

## E-Signature
Part Number | Description | List Price | Net Price
E-Signature JACE 8000 & 9000 Drivers
ESIGN-EC-N4-100 | E-Signature Application with 100 secured points. | 1920 | 1920
ESIGN-EC-N4-250 | E-Signature Application with 250 secured points. | 4270 | 4270
ESIGN-EC-N4-UNL | E-Signature Application with unlimited secured points | 14270 | 14270
ESIGN-EC-N4-UP-250 | E-Signature Application upgrade to add 250 additional secured points | 1440 | 1440
E-Signature Supervisor Drivers
ESIGN-S-N4-1000 | N4 Supervisor E-Signature Application with 1000 secured points. Niagara Station Proxy Points for JACE secured points are not covered & do not count against this limit. | 17120 | 17120
ESIGN-S-N4-UNL | N4 Supervisor E-Signature Application with unlimited secured points. Niagara Station Proxy Points for JACE secured points are not covered & do not count against this limit. | 57055 | 57055
ESIGN-S-N4-UP-1000 | N4 Supervisor E-Signature Application upgrade to add 1000 additional secured points. Niagara Station Proxy Points for JACE secured points are not covered & do not count against this limit. | 5710 | 5710
2025 PRICE BOOK

## Niagara Cloud Suite
Part Number | Description | List Price | Net Price
Niagara Data Service
NCS-NDS-BASIC | 150GB Niagara Cloud Suite Niagara Data Service Basic Tier Subscription per Year (Active SMA Required for purchase and for service to function) | 6300 | 6300
NCS-NDS-BASIC-O | Niagara Cloud Suite Niagara Data Service Basic Tier Overages Charge per additional GB per Subscription | 40 | 40
NCS-NDS-SILVER | 300 GB Niagara Cloud Suite Niagara Data Service Silver Tier Subscription per Year (Active SMA Required for purchase and for service to function) | 12000 | 12000
NCS-NDS-SILVER-O | Niagara Cloud Suite Niagara Data Service Silver Tier Overages Charge per additional GB per Subscription | 20 | 20
NCS-NDS-GOLD | 600 GB Niagara Cloud Suite Niagara Data Service Gold Tier Subscription per Year (Active SMA Required for purchase and for service to function) | 9000 | 9000
NCS-NDS-GOLD-O | Niagara Cloud Suite Niagara Data Service Gold Tier Overages Charge per additional GB per Subscription | 30 | 30
Recover
NCS-RECOVER | Niagara Cloud Suite Niagara Recover Subscription per Year for Controllers (Active SMA Required for purchase and for service to function) | 275 | 275
NCS-RECOVER-SUP | Niagara Cloud Suite Niagara Recover Subscription per Year for Supervisors (Active SMA Required for purchase and for service to function) | 400 | 400
Remote
NCS-REMOTE | Niagara Cloud Suite Niagara Remote Subscription per Year per device (Active SMA Required for purchase and for service to function) | 4250 | 4250
NCS-REMOTE-SUP | Niagara Cloud Suite Niagara Remote Subscription per Year per device for Supervisors (Active SMA Required for purchase and for service to function) | 4250 | 4250
2025 PRICE BOOK

## NCS Bundles
Part Number | Description | List Price | Net Price
Recover, Remote & SMA Bundle
NCS-SMA-0001-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0001-3YR Maintenance | 4210 | 4210
NCS-SMA-0001-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0001-5YR Maintenance | 6965 | 6965
NCS-SMA-0002-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0002-3YR Maintenance | 4260 | 4260
NCS-SMA-0002-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0002-5YR Maintenance | 7025 | 7025
NCS-SMA-0005-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0005-3YR Maintenance | 4440 | 4440
NCS-SMA-0005-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0005-5YR Maintenance | 7260 | 7260
NCS-SMA-0010-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0010-3YR Maintenance | 4625 | 4625
NCS-SMA-0010-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0010-5YR Maintenance | 7495 | 7495
NCS-SMA-0025-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0025-3YR Maintenance | 4970 | 4970
NCS-SMA-0025-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0025-5YR Maintenance | 7940 | 7940
NCS-SMA-0100-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0100-3YR Maintenance | 6720 | 6720
NCS-SMA-0100-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0100-5YR Maintenance | 10180 | 10180
NCS-SMA-0200-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-0200-3YR Maintenance | 8035 | 8035
NCS-SMA-0200-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-0200-5YR Maintenance | 11870 | 11870
NCS-SMA-8005-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-8005-3YR Maintenance | 4440 | 4440
NCS-SMA-8005-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-8005-5YR Maintenance | 7260 | 7260
NCS-SMA-8010-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-8010-3YR Maintenance | 4625 | 4625
NCS-SMA-8010-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-8010-5YR Maintenance | 7495 | 7495
NCS-SMA-8025-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-8025-3YR Maintenance | 4970 | 4970
NCS-SMA-8025-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-8025-5YR Maintenance | 7940 | 7940
NCS-SMA-8100-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-8100-3YR Maintenance | 6720 | 6720
NCS-SMA-8100-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-8100-5YR Maintenance | 10180 | 10180
NCS-SMA-8200-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-8200-3YR Maintenance | 8035 | 8035
NCS-SMA-8200-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-8200-5YR Maintenance | 11870 | 11870
NCS-SMA-9005-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-9005-3YR Maintenance | 4440 | 4440
NCS-SMA-9005-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-9005-5YR Maintenance | 7260 | 7260
NCS-SMA-9010-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-9010-3YR Maintenance | 4625 | 4625
NCS-SMA-9010-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-9010-5YR Maintenance | 7495 | 7495
NCS-SMA-9025-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-9025-3YR Maintenance | 4970 | 4970
NCS-SMA-9025-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-9025-5YR Maintenance | 7940 | 7940
NCS-SMA-9100-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-9100-3YR Maintenance | 6720 | 6720
NCS-SMA-9100-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-9100-5YR Maintenance | 10180 | 10180
NCS-SMA-9200-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SMA-9200-3YR Maintenance | 8035 | 8035
NCS-SMA-9200-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SMA-9200-5YR Maintenance | 11870 | 11870
NCS-SUP-0-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-0-SMA-3YR Maintenance | 4800 | 4800
NCS-SUP-0-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-0-SMA-5YR Maintenance | 7765 | 7765
NCS-SUP-100-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-100-SMA-3YR Maintenance | 7880 | 7880
NCS-SUP-100-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-100-SMA-5YR Maintenance | 11715 | 11715
NCS-SUP-10-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-10-SMA-3YR Maintenance | 6675 | 6675
NCS-SUP-10-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-10-SMA-5YR Maintenance | 10170 | 10170
NCS-SUP-1-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-1-SMA-3YR Maintenance | 4965 | 4965
NCS-SUP-1-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-1-SMA-5YR Maintenance | 7980 | 7980
NCS-SUP-2-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-2-SMA-3YR Maintenance | 5115 | 5115
NCS-SUP-2-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-2-SMA-5YR Maintenance | 8170 | 8170
NCS-SUP-3-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-3-SMA-3YR Maintenance | 5280 | 5280
NCS-SUP-3-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-3-SMA-5YR Maintenance | 8380 | 8380
NCS-SUP-UNL-SMA-3Y | NCS Recover and Remote 3 Year Subscription Bundle with SUP-UNL-SMA-3YR Maintenance | 11765 | 11765
NCS-SUP-UNL-SMA-5Y | NCS Recover and Remote 5 Year Subscription Bundle with SUP-UNL-SMA-5YR Maintenance | 16695 | 16695
2025 PRICE BOOK

## Containers
Part Number | Description | List Price | Net Price
Supervisor
S-NCC-0 | Subscription for 1 Year for N4 Niagara Core Container Supervisor with 0 Niagara connections | 485 | 485
S-NCC-1 | Subscription for 1 Year for N4 Niagara Core Container Supervisor with 1 Niagara connection | 615 | 615
S-NCC-10 | Subscription for 1 Year for N4 Niagara Core Container Supervisor with 10 Niagara connections | 1965 | 1965
S-NCC-100 | Subscription for 1 Year for N4 Niagara Core Container Supervisor with 100 Niagara connections | 2915 | 2915
S-NCC-500 | Subscription for 1 Year for N4 Niagara Core Container Supervisor with 500 Niagara connections | 5975 | 5975
Supervisor Device Capacity
NCC-SUP-DEV-10 | Subscription for 1 Year for N4 Niagara Core Container Supervisor 10 field device pack (Standard drivers included) up to 500 points | 520 | 520
NCC-SUP-DEV-50 | Subscription for 1 Year for N4 Niagara Core Container Supervisor 50 field device pack (Standard drivers included) up to 2500 points | 1350 | 1350
NCC-SUP-DEV-100 | Subscription for 1 Year for N4 Niagara Core Container Supervisor 100 field device pack (Standard drivers included) up to 5000 points | 1805 | 1805
NCC-SUP-DEV-1000 | Subscription for 1 Year for N4 Niagara Core Container Supervisor 1000 field device pack (Standard drivers included) up to 50000 points | 5395 | 5395
NCC-SUP-DEV-500 | Subscription for 1 Year for N4 Niagara Core Container Supervisor 500 field device pack (Standard drivers included) up to 25000 points | 4050 | 4050
Supervisor Driver
NCC-DR-S-API | Subscription for 1 Year for combined DR-HTTP and DR-JSON add-on for N4 Niagara Core Container Supervisor | 1125 | 1125
NCC-DR-S-AXIS-128 | Subscription for 1 Year for Axis® 128 camera driver for N4 Niagara Core Container Supervisor | 2945 | 2945
NCC-DR-S-AXIS-16 | Subscription for 1 Year for Axis® 16 camera driver for N4 Niagara Core Container Supervisor | 740 | 740
NCC-DR-S-MAXP-128 | Subscription for 1 Year for Maxpro® 128 camera driver for N4 Niagara Core Container Supervisor | 2945 | 2945
NCC-DR-S-MAXP-16 | Subscription for 1 Year for Maxpro® 16 camera driver for N4 Niagara Core Container Supervisor | 740 | 740
NCC-DR-S-MLS-128 | Subscription for 1 Year for Milestone Xprotect® Professional/+ or Corporate 128 camera driver for N4 Niagara Core Container Supervisor | 2945 | 2945
NCC-DR-S-MLS-16 | Subscription for 1 Year for Milestone Xprotect® Professional/+ or Corporate 16 camera driver for N4 Niagara Core Container Supervisor | 740 | 740
NCC-DR-S-OADR | Subscription for 1 Year for N4 OpenADR 2.0b driver for N4 Niagara Core Container Supervisor - OpenADR Alliance Certified - enables a single VEN connection; multiple purchases allowed | 1680 | 1680
Supervisor Analytics
NCC-S-NA-1000 | Subscription for 1 Year for Niagara Analytics Framework 1,000 analytic points for N4 Niagara Core Container Supervisor | 1755 | 1755
NCC-S-NA-10000 | Subscription for 1 Year for Niagara Analytics Framework 10,000 analytic points for N4 Niagara Core Container Supervisor | 9620 | 9620
Supervisor Upgrades
NCC-SUP-UP-1 | Subscription for 1 Year for N4 Niagara Core Container Supervisor upgrade for 1 Niagara connection | 150 | 150
NCC-SUP-UP-10 | Subscription for 1 Year for N4 Niagara Core Container Supervisor upgrade for 10 Niagara connections | 1110 | 1110
NCC-SUP-UP-100 | Subscription for 1 Year for N4 Niagara Core Container Supervisor upgrade for 100 Niagara connections | 2070 | 2070
2025 PRICE BOOK

## Portability SMA
Part Number | Description | List Price | Net Price
SMA-0001-1YR | PIN-0001 - 1 year maintenance | 57 | 57
SMA-0001-3YR | PIN-0001 - 3 year maintenance | 135 | 135
SMA-0001-5YR | PIN-0001 - 5 year maintenance | 175 | 175
SMA-0002-1YR | PIN-0002 - 1 year maintenance | 78 | 78
SMA-0002-3YR | PIN-0002 - 3 year maintenance | 190 | 190
SMA-0002-5YR | PIN-0002 - 5 year maintenance | 245 | 245
SMA-0005-1YR | PIN-0005 - 1 year maintenance | 155 | 155
SMA-0005-3YR | PIN-0005 - 3 year maintenance | 375 | 375
SMA-0005-5YR | PIN-0005 - 5 year maintenance | 485 | 485
SMA-0010-1YR | PIN-0010 - 1 year maintenance | 230 | 230
SMA-0010-3YR | PIN-0010 - 3 year maintenance | 565 | 565
SMA-0010-5YR | PIN-0010 - 5 year maintenance | 725 | 725
SMA-0025-1YR | PIN-0025 - 1 year maintenance | 375 | 375
SMA-0025-3YR | PIN-0025 - 3 year maintenance | 915 | 915
SMA-0025-5YR | PIN-0025 - 5 year maintenance | 1175 | 1175
SMA-0100-1YR | PIN-0100 - 1 year maintenance | 1110 | 1110
SMA-0100-3YR | PIN-0100 - 3 year maintenance | 2710 | 2710
SMA-0100-5YR | PIN-0100 - 5 year maintenance | 3475 | 3475
SMA-0200-1YR | PIN-0200 - 1 year maintenance | 1665 | 1665
SMA-0200-3YR | PIN-0200 - 3 year maintenance | 4060 | 4060
SMA-0200-5YR | PIN-0200 - 5 year maintenance | 5210 | 5210
2025 PRICE BOOK